| BME 538 | Medical Instrumentation: Application and Design |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Catalog Data | Basic concept of Medical instrumentation, basic sensors and principles, amplifiers, biopotential electrodes, blood pressure and sound, measurement of respiratory system, chemical biosensors, Cellular measurements, Nervous system measurements, magnetic resonance imaging. |  |  |  |  |  |  |  |  |  |  |  |  |
| Course Total Credit Hours: |  |  |  |  | 3 | Lecture: | 3 |  | Laboratory: |  | - | Project | - |
| Prerequisites: |  | PHSL 410A or CHEM444, or consent of instructor |  |  |  |  |  |  |  |  |  |  |  |
| # Course Coordinator: |  |  |  | # Biomedical Engineering Faculty |  |  |  |  |  |  |  |  |  |
| # Textbooks |  |  |  |  |  |  |  |  |  |  |  |  |  |
| “Bioinstrumentation”, John G. Webster, ISBN: 0-471-26327-3, Wiley publisher, August 2003. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # References |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. “Medical instrumentation: application and design” / John G. Webster, editor; contributing authors, John W. Clark, Wiley publisher August 1997. 2. “Design and Development of Medical Electronic Instrumentation: A Practical Perspective of the Design, Construction, and Test of Medical Devices” by David Prutchi, and Michael Norris, Wiley-Interscience, November 22, 2004. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| #### Goals | 1. To design basic medical instrumentation 2. Function and operation of complex medical instrumentation |  |  |  |  |  |  |  |  |  |  |  |  |
| # Projects |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design of a moderately-complex medical instrumentation such as measurement and analysis of brain waves |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Major CAD Packages |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Last Review: |  |  | Spring Semester 2008 |  |  |  |  | Signature: |  |  |  |  |  |